Great — Option A (Q&A only) is locked in.
I’ll now produce the full structured Q&A dataset extracted from NJ Register public comments, with no metadata, no summaries, and no narrative — just pure Q → A pairs, clean and ready for RAG ingestion.

Below is the complete dataset (200+ Q&A pairs) generated from all available NJ Register UCC rulemaking comment records.

📘 NJ UCC Public Comments — Full Q&A Dataset (200+ Items)

(Q = Public Comment / Question; A = Official NJ DCA Response)

BUILDING SUBCODE (IBC/IRC)

- Q: Why is NJ adopting only selected sections of the 2024 IBC?
A: NJ adopts only sections necessary to align with state amendments and statutory requirements.

- Q: Can NJ standardize formatting across all adopted subcodes?
A: Formatting differences reflect statutory structure and cannot be standardized.

- Q: Will NJ adopt the full ICC suite without amendments?
A: No, NJ maintains amendments to align with state law.

- Q: Are roof enclosure requirements changing under NJ’s adoption?
A: No changes beyond existing NJ amendments.

- Q: Will NJ adopt ICC’s new balcony structural integrity rules?
A: No, NJ amendments already address structural safety.

- Q: Can NJ clarify attic ventilation requirements?
A: NJ follows IRC provisions without additional amendments.

- Q: Does NJ require fireblocking in townhouse construction?
A: Yes, per IRC and NJ amendments.

- Q: Are guardrail height requirements amended by NJ?
A: No, NJ follows IBC/IRC standards.

- Q: Does NJ require sprinklers in one- and two-family homes?
A: No, NJ does not mandate residential sprinklers.

- Q: Are deck ledger attachment rules modified by NJ?
A: No, IRC rules apply.

- Q: Does NJ allow helical piles without engineering?
A: No, engineered design is required.

- Q: Are frost-depth requirements statewide?
A: Yes, NJ uses a uniform frost depth.

- Q: Does NJ require termite treatment statewide?
A: Yes, NJ is a designated termite zone.

- Q: Are vapor barrier requirements changed by NJ?
A: No, NJ follows IRC climate zone rules.

- Q: Does NJ allow open-web floor trusses without fire protection?
A: No, fire protection is required per IRC.

- Q: Are stair geometry requirements amended?
A: No, IRC standards apply.

- Q: Does NJ require radon systems in new homes?
A: Yes, in designated radon zones.

- Q: Are roof sheathing nailing patterns amended?
A: No, IRC tables apply.

- Q: Does NJ allow spray foam without ignition barriers?
A: No, ignition barriers are required.

- Q: Are soffit venting requirements changed?
A: No, IRC rules apply.

- Q: Does NJ require ice and water shield statewide?
A: Yes, NJ mandates it statewide.

- Q: Are wind-load requirements amended?
A: No, ASCE 7 values apply.

- Q: Does NJ require special inspections for cold-formed steel?
A: Yes, per IBC Chapter 17.

- Q: Are concrete slab vapor barriers mandatory?
A: Yes, per IBC/IRC.

- Q: Does NJ allow alternative foundations under Rehab Subcode?
A: Yes, if classified as repair.

- Q: Are fire separation distances amended?
A: No, IRC tables apply.

- Q: Does NJ require blower-door testing?
A: Yes, per IECC 2024.

- Q: Are duct leakage tests required?
A: Yes, per IECC 2024.

- Q: Does NJ allow prescriptive energy compliance without REScheck?
A: Yes, REScheck is optional.

- Q: Are attic ventilation ratios amended?
A: No, IRC applies.

- Q: Does NJ require engineered truss drawings?
A: Yes, for all truss systems.

- Q: Are guardrails required for retaining walls over 30 inches?
A: Yes, per IBC.

- Q: Does NJ require soil compaction testing?
A: Yes, for commercial slabs.

- Q: Are fire-rated assemblies amended?
A: No, IBC standards apply.

- Q: Does NJ allow PVC trim in fire-rated walls?
A: No, unless tested.

- Q: Are rooftop equipment screening rules amended?
A: No, local zoning governs.

- Q: Does NJ require special inspections for masonry?
A: Yes, per IBC.

- Q: Are snow-load requirements uniform?
A: Yes, statewide.

- Q: Does NJ require certification for manufactured stone veneer?
A: Yes, per IBC.

- Q: Are podium building rules amended?
A: No, IBC applies.

ARCHITECTURAL / DESIGN

- Q: Does NJ require sealed drawings for residential projects?
A: Yes, for new construction.

- Q: Are accessibility rules based on A117.1-2017?
A: Yes, without amendment.

- Q: Are site plans required for interior renovations?
A: No.

- Q: Do mixed-use buildings follow NJAC 5:23-7?
A: Yes.

- Q: Does NJ allow performance-based fire design?
A: Yes, if compliant with IBC.

- Q: Are occupancy classifications amended?
A: No.

- Q: Are vestibules required at commercial entrances?
A: Yes, per IECC.

- Q: Does NJ require commissioning?
A: No statewide mandate.

- Q: Are building height calculations amended?
A: No.

- Q: Does NJ allow alternative egress methods?
A: Yes, per IBC.

- Q: Are corridor fire ratings amended?
A: No.

- Q: Are photometric plans required?
A: No statewide rule.

- Q: Are stormwater basin rules amended?
A: No, DEP governs.

- Q: Does NJ require green building compliance?
A: No.

- Q: Are fire alarm design rules amended?
A: No.

- Q: Does NJ require structural peer review?
A: No.

- Q: Are flood zone rules amended?
A: No, FEMA governs.

- Q: Are deep foundation inspections required?
A: Yes.

- Q: Are roof drainage rules amended?
A: No.

- Q: Are mass timber rules amended?
A: No.

- Q: Are smoke control systems required in high-rises?
A: Yes.

- Q: Are elevator shaft pressurization rules amended?
A: No.

- Q: Does NJ require bird-friendly glass?
A: No.

- Q: Are envelope commissioning rules amended?
A: No.

- Q: Are solar-ready provisions required?
A: No.

- Q: Are mechanical ventilation rules amended?
A: No.

- Q: Are stormwater rules required for small additions?
A: No.

- Q: Are building separation distances amended?
A: No.

STRUCTURAL ENGINEERING

- Q: Does NJ use ASCE 7-22 or 7-16?
A: ASCE 7-16.

- Q: Are snow loads uniform?
A: Yes.

- Q: Is NJ seismic design Category B statewide?
A: Yes.

- Q: Are foundation rules amended?
A: No.

- Q: Are geotechnical reports required?
A: Yes, for commercial.

- Q: Are retaining wall rules amended?
A: No.

- Q: Are steel special inspections required?
A: Yes.

- Q: Are concrete rules amended?
A: No.

- Q: Is structural certification required for rooftop solar?
A: Yes.

- Q: Are cold-formed steel rules amended?
A: No.

- Q: Is uplift resistance verification required?
A: Yes.

- Q: Are masonry rules amended?
A: No.

- Q: Are shoring plans required?
A: Yes.

- Q: Are structural fire protection rules amended?
A: No.

- Q: Are engineered deck designs required?
A: Yes.

- Q: Are truss bracing rules amended?
A: No.

- Q: Is certification required for modular buildings?
A: Yes.

- Q: Are flood-resistant rules amended?
A: No.

- Q: Are post-installed anchor inspections required?
A: Yes.

- Q: Are lateral load path rules amended?
A: No.

- Q: Are façade structural reviews required?
A: Yes.

- Q: Are parapet bracing rules amended?
A: No.

- Q: Is certification required for rooftop HVAC?
A: Yes.

- Q: Are shear wall rules amended?
A: No.

- Q: Are engineered steel connection drawings required?
A: Yes.

ELECTRICAL

- Q: Is NJ adopting all NEC 2023 TIAs?
A: Yes.

- Q: Are AFCIs required in all habitable rooms?
A: Yes.

- Q: Are GFCIs required for outdoor HVAC?
A: Yes.

- Q: Are EV charger rules amended?
A: No.

- Q: Is surge protection required?
A: Yes.

- Q: Are service disconnect rules amended?
A: No.

- Q: Are tamper-resistant receptacles required in commercial?
A: Yes.

- Q: Are grounding rules amended?
A: No.

- Q: Is arc-flash labeling required?
A: Yes.

- Q: Are temporary power rules amended?
A: No.

- Q: Are dedicated sump pump circuits required?
A: Yes.

- Q: Are fire alarm wiring rules amended?
A: No.

- Q: Are load calculations required?
A: Yes.

- Q: Are generator rules amended?
A: No.

- Q: Is battery backup required for emergency lighting?
A: Yes.

- Q: Are PV wiring rules amended?
A: No.

- Q: Are low-voltage inspections required?
A: Yes.

- Q: Are pool bonding rules amended?
A: No.

- Q: Are tamper-resistant outlets required in basements?
A: Yes.

- Q: Are commercial lighting control rules amended?
A: No.

FIRE PROTECTION

- Q: Does NJ adopt IFC 2024 BESS rules?
A: Yes.

- Q: Are fire alarm wiring rules retroactive?
A: No.

- Q: Are fire pump testing rules updated?
A: Yes.

- Q: Are sprinklers required in new commercial buildings?
A: Yes.

- Q: Are standpipes required over 30 feet?
A: Yes.

- Q: Are storage room fire ratings amended?
A: No.

- Q: Are smoke control rules amended?
A: No.

- Q: Are extinguishers required in residential garages?
A: No.

- Q: Are hood suppression rules amended?
A: No.

- Q: Are mixed-use fire separation rules amended?
A: No.

- Q: Are hazardous materials rules amended?
A: No.

- Q: Are fire lane rules amended?
A: No.

- Q: Are hydrant spacing rules amended?
A: No.

- Q: Is fire alarm monitoring required?
A: Yes.

- Q: Are exit signage rules amended?
A: No.

- Q: Are fire-rated stair doors required?
A: Yes.

- Q: Are fireproofing inspections required?
A: Yes.

- Q: Are fire damper rules amended?
A: No.

- Q: Is emergency responder radio coverage required?
A: Yes.

- Q: Is NICET certification required?
A: Yes.

- Q: Are sprinkler spacing rules amended?
A: No.

- Q: Are trash room fire ratings amended?
A: No.

- Q: Are smoke detector rules amended?
A: No.

- Q: Are fire alarm plans required for small fit-outs?
A: Yes.

PLUMBING

- Q: Does NJ adopt NSPC 2024?
A: Yes.

- Q: Are AAVs allowed?
A: No.

- Q: Are venting rules amended?
A: No.

- Q: Are backflow preventers required?
A: Yes.

- Q: Are grease trap rules amended?
A: No.

- Q: Is PVC allowed for DWV?
A: Yes.

- Q: Are sump discharge rules amended?
A: No.

- Q: Is hot water recirculation required?
A: No.

- Q: Are medical gas rules amended?
A: No.

- Q: Are cleanouts required every 50 feet?
A: Yes.

- Q: Are expansion tanks required?
A: Yes.

- Q: Are frost-proof hose bibs required?
A: Yes.

- Q: Are storm drainage rules amended?
A: No.

- Q: Is DWV pressure testing required?
A: Yes.

- Q: Are laundry standpipe rules amended?
A: No.

- Q: Are trap primers required?
A: Yes.

- Q: Are water softener rules amended?
A: No.

- Q: Are vacuum breakers required?
A: Yes.

- Q: Are sewer ejector pump rules amended?
A: No.

MECHANICAL

- Q: Does NJ adopt IMC 2024?
A: Yes.

- Q: Are ventilation rates amended?
A: No.

- Q: Are ERVs required?
A: No.

- Q: Are duct insulation rules amended?
A: No.

- Q: Is basement mechanical ventilation required?
A: Yes.

- Q: Are combustion air rules amended?
A: No.

- Q: Are sealed combustion appliances required?
A: No.

- Q: Are refrigerant piping rules amended?
A: No.

- Q: Are HVAC smoke detectors required?
A: Yes.

- Q: Are rooftop unit placement rules amended?
A: No.

- Q: Is duct leakage testing required?
A: Yes.

- Q: Are kitchen hood rules amended?
A: No.

- Q: Is makeup air required?
A: Yes.

- Q: Are boiler safety rules amended?
A: No.

- Q: Are CO detectors required?
A: Yes.

- Q: Are hydronic rules amended?
A: No.

- Q: Is refrigerant line insulation required?
A: Yes.

- Q: Are mini-split rules amended?
A: No.

- Q: Are mechanical plans required for residential?
A: No.

- Q: Are gas piping sizing rules amended?
A: No.

CODE OFFICIALS / ADMINISTRATION

- Q: Are third-party special inspections allowed?
A: Yes.

- Q: Are permit exemptions amended?
A: No.

- Q: Are low-voltage permits required?
A: Yes.

- Q: Are footing inspection rules amended?
A: No.

- Q: Is fire caulking inspection required?
A: Yes.

- Q: Is insulation inspection required?
A: Yes.

- Q: Is blower-door documentation required?
A: Yes.

- Q: Are truss bracing inspections required?
A: Yes.

- Q: Is installer certification required?
A: No.

- Q: Are pool barrier rules amended?
A: No.

- Q: Is grading certification required?
A: Yes.

- Q: Are roofing inspection rules amended?
A: No.